STEINEL Professional Accessory

LiveLink LAN DR

Dimensions (L x W x H): 60 x 108 x 90 mm;Manufacturer's Warranty: 5 years;Settings via: LiveLink app;PU1, EAN: 4007841055455;Type: Lighting control set;Colour: grey;Package content: 1;IP-rating: IP20;Protection class: I;Ambient temperature: from -25 up to 65 °C;Material: Plastic;Mains power supply: 220 – 240 V / 50 – 60 Hz;Number of Dali users: 128;Control output, Dali: Addressable / broadcast 64 electronic ballasts;Functions: Semi-/fully automatic, HCL, Constant-lighting control, Lighting scenario, Orientation light, TouchDIM function;Basic light level function: Yes;Main light adjustable: Yes;Constant-lighting control: Yes;Type DALI output: Single-Master;Product category: Accessory

Manufacturer Steinel

Prod. No. 055455

Ordering designation LiveLink LAN DR

Deliver, install and set ready for operation