STEINEL Professional System components

IPI100 KNX-S IP Interface


Manufacturer's Warranty: 5 years;PU1, EAN: 4007841095963;Installation: Other;Power supply, detail: KNX bus;KNX Medium: TP 256;KNX Secure: Yes;Product category: System components;KNX functions – technical details: KNXnet/IP tunneling, 8 tunnel connections, Support of KNX Security, Support of KNX Long Frames, Status display via 3 LEDs, Power supply via KNX bus, Connections: KNX, LAN RJ-45, For DIN rail, width 1 unit (18 mm);Stromaufnahme Bus Eingabe: 20 mA

Manufacturer Steinel
Prod. No. 095963
Ordering designation IPI100 KNX-S IP Interface

Deliver, install and set ready for operation
