STEINEL Professional Motion detector

IS 3180

PF - concealed, sq.

Dimensions (L x W x H): 78 x 94 x 94 mm;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Remote control, Potentiometers, Smart Remote;With remote control: No;Version: PF - concealed, sq.;PU1, EAN: 4007841055769;Type: Motion detectors;Application, place: Outdoors, Indoors;Application, room: corridor / aisle, function room / ancillary room, stairwell, multi-storey / underground car park, outdoors, all round the building, courtyard & driveway, Indoors;Colour: white;Colour, RAL: 9003;Includes corner wall mount: No;Installation site: wall, corner;Installation: Concealed wiring, Wall, corner;IP-rating: IP20;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 220 – 240 V / 50 – 60 Hz;Fluorescent lamps, electronic ballast: 1500 W;Fluorescent lamps, uncorrected: 1000 VA;Fluorescent lamps, series-corrected: 400 VA;Fluorescent lamps, parallel-corrected: 400 VA;Switching output 1, low-voltage halogen lamps: 2000 VA;LED lamps

Manufacturer Steinel

Prod. No. 055769

Ordering designation IS 3180 PF - concealed, sq.

Deliver, install and set ready for operation