LiveLink System – Pushbutton Coupler DALI 4x

- Connection of 4 conventional installation buttons via the DALI interface to a LiveLink control device

- Freely selectable button functions during operation, e.g. touch-dim function and the calling up of programmed lighting scenarios

- Operation and programming via LiveLink App (iOS/Android)

Warranty:				5 Years

Article number:			013660

Quantity:				___ units

Unit price:				€_____

Total price:				€_____

Contact: objekte@steinel.de