Infrared Motion Detector – IS 3360 MX Highbay LiveLink

- For indoors

- 360° infrared motion detector

- For mounting heights of up to 14 m

- Reach max. 18 m

- As surface-mounted version in square design

- Also available in COM1, PF, KNX and DALI versions

Technical specifications:

Power supply:			DALI bus voltage

Current consumption:		3 DALI users

Sensor technology:			Passive infrared

Reach:	Max. 18 m (tangential)

Recommended installation height:4.00 - 14.00 m

Detection zone:			360°

Response brightness:		2 – 1000 lux

Time setting:				1 min – 60 min, IQ mode

Mounting:				Ceiling mounting

Material:	UV-resistant plastic (casing), HDPE (lens)

Operating temperature:		-20°C to +50°C

IP rating:				IP54

Marks of conformity:		CE, VDE

Dimensions: (H x W x D):		65 x 95 x 95 mm

Colour:				White

Warranty:				5 years

Article number:			009724

Quantity:				___ each

Unit price:				€ ____

Total price:				€ ____

Contact: objekte@steinel.de